## Slide 1: Observational Astronomy
SPECTROSCOPIC data reduction
Piskunov & Valenti 2002, A&A 385, 1095

## Slide 2: Worse-case scenario…

## Slide 3: In addition we have calibration data:
Bias
Flat field
Dark current
Order tracing
Wavelength map (comparison spectrum)
Blaze calibration

## Slide 4: Spectroscopic reduction in a nutshell
The intensity is given by:
s – signal in science exposure
b – bias level
f – flat field signal
g – gain (e-/ADU)
d – dark current signal per unit time
t – exposure time

## Slide 5: The problem is the errors:
If f is close to b, the S/N is determined by the S/N of the flat field!!!

## Slide 6: One step at a time: making master bias and master flat/dark
The goal is to replace the actual calibration data with a model which is free of random noise but carries all the necessary calibration signatures.
Master S/N must be much larger than the S/N in science frames!!! Add together signal in many frames
Main issue: getting rid of random errors, e.g. cosmic ray hits
Method: filtering within a frame or across a stack of frames
Cross-check between groups of calibration frames

## Slide 7: Example using flats:

## Slide 8: Example using flats:
6 times larger vertical scale

## Slide 9: Flat field
Fragment of a master flat field

## Slide 10: Order tracing

## Slide 11: Order tracing (2)

## Slide 12: Conceptual Algorithm
Any point in the focal plane can (in principle) be represented by a product of the sPectrum and the sLit illumination function
looks like a real spectral order
L(y) P (x)

## Slide 13: Now the Real Thing…
CCD pixel with coordinates and is given by:
In practice we reconstruct the slit function on some discrete grid with resolution ≥ than CCD pixels. Thus we can write:

## Slide 14: Slit function decomposition
Ideal model: Image on CCD is a sequence of monochromatic images of the entrance slit sampled with CCD pixels

## Slide 15: Normalizing flat field
“Spectrum”
Model FF
Original FF
Normalized FF

## Slide 16: Extracting science spectrum

## Slide 17: Wavelength calibration
Pixel number
Order number

## Slide 18: Continuum fit
Blaze function is a good start:

## Slide 19: … but it is not perfect

## Slide 20: Fringing
Accurate fringing removal requires identical slit illumination by the FF as it is illuminated by the science target

## Slide 21: Comparison with other algorithms
UVES POP Library, Bagnulo et al. 2003, Messenger 114, 10

## Slide 22: FIES data reduction
Attend a tutorial on using REDUCE
Setup your own reduction script to create: - Master bias - Master flat - Normalized flat and to extract: - ThAr - your science spectra + pulsating star spectra
Create a wavelength solution using wavecal and ThAr spectrum
Fit the continuum using make_cont
Compare spectra in selected wavelength regions